	[image: ]
	
TECHNICAL QUERY
Hollandse Kust Noord

	Employers query to
	@@
	No:
	@@
	Rev:
	A

	Subject
	@@  



   
[image: ]     [image: ]                 [image: ]
	No. TQ :
	123A90-PML-PM-TQ-00003
	Rev:
	00



	Originating Party
	Rosetti Marino

	Subject
	Request for information on Company HV SCADA

	Author
	C. Giunchi
	TQ Aconex unique number:  

	Interface TQ - from
	
	TQ interface source Aconex unique number:  



	Type
	Query
	x
	Interface
	

	
	Deviation
	
	Derogation (SHALL[PS])
	

	
	Note: No deviations nor derogations which have an adverse effect on HSSE will be granted

	Workpackage
	

	Area(s) of application
	Design & Eng.
	x
	Procurement
	
	Construction
	

	
	Commissioning
	
	Operations
	
	Other
	

	Issue date
	10/08/2023
	Urgent reply 5 days
	
	Routine reply 10 days
	x

	Close-out date
	
	

	Closed-out by
	
	TQ status:
	Closed-out


	1. [bookmark: _Hlk14887621]Description 

	Reference documents / Aconex unique numbers: 

	
In order to properly integrate required signals from the PERMANENT WORK control system into the Company’s HV SCADA system, Rosetti kindly asks to receive information and technical specification of Company’s HV SCADA system.


	2. Response

	Reference documents / Aconex unique numbers
CWHKN-INN-INP-SPC-00005

	The information is provided in the SCADA Information document (CWHKN-INN-INP-SPC-00005).





This communication is issued for the recipient’s information and to facilitate the obligations
of the Parties under the Contract. This communication has no authority to amend                                                                      Page 2/2
or vary the Contract nor relieve either Party of any duties, obligations or responsibilities.								
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