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	No. TQ :
	123A90-PML-PM-TQ-00016
	Rev:
	00



	Originating Party
	Rosetti Marino – STR dept.

	Subject
	Technical reference documents referred to in the Structural Calculation Report

	Author
	A.Balzarotti
	TQ Aconex unique number:  

	Interface TQ - from
	
	TQ interface source Aconex unique number:  



	Type
	Query
	x
	Interface
	

	
	Deviation
	
	Derogation (SHALL[PS])
	

	
	Note: No deviations nor derogations which have an adverse effect on HSSE will be granted

	Workpackage
	

	Area(s) of application
	Design & Eng.
	x
	Procurement
	
	Construction
	

	
	Commissioning
	
	Operations
	
	Other
	

	Issue date
	11/09/2023
	Urgent reply 5 days
	
	Routine reply 10 days
	x

	Close-out date
	
	

	Closed-out by
	
	TQ status:
	Closed-out


	1. [bookmark: _Hlk14887621]Description 

	Reference documents : 
1) K559-2254-ST-REP-001-Rev0 - Structural Topsides Analysis Report.
As per below snapshot, CONTRACTOR is requiring COMPANY to provide below documents for CONTRACTOR evaluation:
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	2. Response

	Reference documents / Aconex unique numbers
CWHKN-TRANSMIT-016515

	Documents 3,4,6,7,8,9,12,15,18,19 and 20 have been transmitted (CWHKN-TRANSMIT-016515).

Documents 1,2 and 10 are not relevant anymore and superseded by the FEED package

14, all fire related documents are part of the FEED package
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5 is a paper used by KBR as reference 

16 and 17 are internal KBR tools\guidelines that cannot be shared.



This communication is issued for the recipient’s information and to facilitate the obligations
of the Parties under the Contract. This communication has no authority to amend                                                                      Page 2/2
or vary the Contract nor relieve either Party of any duties, obligations or responsibilities.								
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SHELL-INN-BPH-PLN-00015
SHELL-INN-BPH-PLN-00018

SHELL-INN-BPH-PLN-00019

SHELL-INN-BPH-PLNG-

00006

SHELL-INN-BPH-RPT-00012

SHELL-INN-BPH-RPT-00043
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Title
K559-2254-SE-PPL-001 - BLPH Fire Zone
K559-2254-SE-FGD-001-001 - BLPH FIRE
PROTECTION AND FIRE & GAS DETECTION
LAYOUTS

K559-2254-SE-FGD-001-002 - BLPH FIRE
PROTECTION AND FIRE & GAS DETECTION
LAYOUTS

K559-2254-SE-PLN-002 - BLPH Fire
Protection Basis of Design
416041-40751-G.06-0002 RevC - Fire
Protection Philosophy
K559-2254-SE-REP-007 - BLPH Fire and
Explosion Risk Analysis (FERA)
K559-2254-SE-PHI-001 - BLPH Fire

Protection Philosophy

Revision
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