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	Originating Party
	Rosetti Marino

	Subject
	BESS – Electrical Data

	Author
	Rosetti Marino – Electrical Department
	TQ Aconex unique number:  

	Interface TQ - from
	
	TQ interface source Aconex unique number:  



	Type
	Query x
	
	Interface x
	

	
	Deviation
	
	Derogation (SHALL[PS])
	

	
	Note: No deviations nor derogations which have an adverse effect on HSSE will be granted

	Workpackage
	

	Area(s) of application
	Design & Eng.
	x
	Procurement
	
	Construction
	

	
	Commissioning
	
	Operations
	
	Other
	

	Issue date
	22/09/2023
	Urgent reply 5 days
	x
	Routine reply 10 days
	

	Close-out date
	
	

	Closed-out by
	
	TQ status:
	Closed-out


	1. [bookmark: _Hlk14887621]Description 

	Reference documents / Aconex unique numbers:


	Following information is needed for the proper development of Electrical Detail Engineering, equipment sizing and studies:
· Electrical load list, with power consumption and service factors for each possible operation schema.
· Electrical Single Line Diagram with all parameters for each electrical item to be provided with the package. 
· Harmonic contribution at the output.

	2. Response

	Reference documents / Aconex unique numbers
STATRON-INN-BPH-TN-00005 - K559-2254-CWIWP4202201-E14-00 - Load List
STATRON-INN-BPH-DWG-00005 - Simplified schematics SLD & Interface drawings
SHELL-INN-BPH-RPT-00044 - K559-2254-CWIWP4202201-E99-005 - STATRON BLPH PROJECT - HARMONIC STUDY REPORT


	Please refer to above drawing in Aconex for the requested information. SLD updates remain on going based on SAFOP actions. Please refer to the SAFOP recommendations for any changes that may impact design. 





This communication is issued for the recipient’s information and to facilitate the obligations
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or vary the Contract nor relieve either Party of any duties, obligations or responsibilities.								
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