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	Originating Party
	Crosswind 

	Subject
	BESS – Electrical Data


	Author
	Dominik Sznajder
	TQ Aconex unique number:  CWHKN-INN-BPH-TQ-00019

	Interface TQ - from
	Rosetti
	TQ interface source Aconex unique number:  ROSMA-INN-BPH-TQ-00036 



	Type
	Query
	x
	Interface
	

	
	Deviation
	
	Derogation (SHALL[PS])
	

	
	Note: No deviations nor derogations which have an adverse effect on HSSE will be granted

	Workpackage
	

	Area(s) of application
	Design & Eng.
	x
	Procurement
	
	Construction
	

	
	Commissioning
	
	Operations
	
	Other
	

	Issue date
	25-09-2023
	Urgent reply 5 days
	x
	Routine reply 10 days
	

	Close-out date
	
	

	Closed-out by
	
	TQ status:
	Open



	1. [bookmark: _Hlk14887621]Description 

	Reference documents / Aconex unique numbers:


	Following information is needed for the proper development of Electrical Detail Engineering, equipment sizing and studies:
1. Electrical load list, with power consumption and service factors for each possible operation schema.
1. Electrical Single Line Diagram with all parameters for each electrical item to be provided with the package. 
1. Harmonic contribution at the output.




	2. Response

	Reference documents / Aconex unique numbers


	



This communication is issued for the recipient’s information and to facilitate the obligations
of the Parties under the Contract. This communication has no authority to amend                                                                      Page 2/2
or vary the Contract nor relieve either Party of any duties, obligations or responsibilities.								
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